## Sheet1
| Source Station | Destination Station | Description | Channel Routing | Month | SRPC_Reported | Website_Reported
0 | Dharmapuri (main) | SALEM PG-DCPC | RTU_Data_Dharmapuri RTU SALEM PG-DCPC (Data & Voice) | Dharmapuri, Salem | Mar, 2021 | 00:00 | 00:45
1 | Kolar HVAC (stdby) | SOMANAHALLI PG-DCPC | RTU Data : Kolar HVAC (stdby) RTU - SOMANAHALLI PG-DCPC (Data & Voice) | Kolar, Hosur, Somanahalli | Jun, 2021 | 00:00 | 53:09
2 | Kalamasserry SLDC (Protection) | SRLDC | ICCP_KSEB SLDC_SRLDC | Kalamasserry, Chalakudy, Trichur KSEB, Kozhikode, Mysore, NGMNGL, Bidadi, SMNHL, SRLDC | Feb, 2021 | 00:15 | 04:00
3 | Chennai SLDC | SRLDC | REMC_TN _SRLDC_Main | Chennai SLDC, Madurai SLDC, Madurai PG, Karaikudi, Trichy, Nagapattanam, Dharmapuri, Salem, Hosur, SMNHL, SRLDC | Dec, 2020 | 00:00 | 02:20
4 | Yelahanka 220 kV (KPTCL) | SLDC | Voice & SCADA of Yelahanka 220 kV (KPTCL) & PGCIL Yelahnka 400kV | Point to point | Aug, 2021 | 17:01 | 17:17
5 | Thiruvananthapuram | Bangalore | Voice (E1), Alcatel IP Exchange channel | Thiruvananthapuram, Pothencode, Edamon, Kundara, Edappon, Pallom, Ambalamugal, Brahmapuram, Kalamassery, Chalakkudy, Madakkathara, Arekode, Arekode PGCIL, SRLDC Bangalore | Feb, 2021 | 163:30 | 174:51
6 | Kalamassery | Thiruvananthapuram | Voice (E1), Alcatel IP Exchange channel | Thiruvananthapuram, Pothencode, Edamon, Kundara, Edappon, Pallom, Ambalamugal, Brahmapuram, Kalamassery | Feb, 2021 | 174:00 | 263:30
7 | Thiruvananthapuram | Kalamassery | Data (Ethernet), Main ICCP Link | Thiruvananthapuram, Pothencode, Edamon, Kundara, Edappon, Pallom, Ambalamugal, Brahmapuram, Kalamassery | Feb, 2021 | 189:53 | 369:33
8 | Thiruvananthapuram | Kalamassery | Data (Ethernet), Backup ICCP Link | Thiruvananthapuram, Pothencode, Edamon, Kundara, Edappon, Pallom, Ambalamugal, Brahmapuram, Kalamassery | Feb, 2021 | 174:00 | 294:30
9 | Edamon | Salem | Protection (E1), SPS | Edappon, Pallom, Ambalamugal, Brahmapuram, Kalamassery, Cochin PGCIL, Salem | Feb, 2021 | 194:30 | 442:30
10 | Kundara | Salem | Protection (E1), SPS | Kundara, Edamon, Pothencode, Thiruvananthapuram PGCIL, Salem | Feb, 2021 | 62:30 | 125:00
11 | Edappon | Kolar | Protection ABB NSD 70 (64 kbps), SPS | Edappon, Pallom, Ambalamugal, Kalamassery, Cochin PGCIL, Kolar | Feb, 2021 | 119:00 | 193:00
12 | Pallom | Kolar | Protection ABB NSD 70 (64 kbps), SPS | Pallom, Ambalamugal, Kalamassery, Cochin PGCIL, Kolar | Dec, 2020 | 02:00 | 02:59
13 | Pallom | Kolar | Protection ABB NSD 70 (64 kbps), SPS | Pallom, Ambalamugal, Kalamassery, Cochin PGCIL, Kolar | Feb, 2021 | 158:00 | 193:00
14 | Kalamassery | Thiruvananthapuram | Video (ethernet), Video Conference | Thiruvananthapuram, Pothencode, Edamon, Kundara, Edappon, Pallom, Ambalamugal, Brahmapuram, Kalamassery | Feb, 2021 | 137:53 | 369:33
15 | KAYATHAR 230 kV SS | SLDC CHENNAI | Voice & Data : Main Control Center (MCC) | Kayathar - Madurai 230- Trichy 230- S'Perumbudur- SLDC Chennai. | Mar, 2021 | 00:00 | 03:23
16 | CHENNAI | Bangalore | URTDSM BENGALURU - CHENNAI ICCP | CHENNAI - KALIVANTHAPATTU PG - PUGLAUR PG - KARAIKUDI PG - KAYTHAR 400 - SLDC/MADURAI - CHECKKANOORANI 230 - CHECKKANOORANI PG - PG NETWORK-BENGALURU | May, 2021 | 00:00 | 04:03
17 | CHENNAI | Bangalore | URTDSM BENGALURU - CHENNAI ICCP | CHENNAI - KALIVANTHAPATTU PG - PUGLAUR PG - KARAIKUDI PG - KAYTHAR 400 - SLDC/MADURAI - CHECKKANOORANI 230 - CHECKKANOORANI PG - PG NETWORK-BENGALURU | Aug, 2021 | 00:00 | 07:35
18 | CHENNAI | Bangalore | URTDSM BENGALURU - CHENNAI ICCP | CHENNAI - KALIVANTHAPATTU PG - PUGLAUR PG - KARAIKUDI PG - KAYTHAR 400 - SLDC/MADURAI - CHECKKANOORANI 230 - CHECKKANOORANI PG - PG NETWORK-BENGALURU | Oct, 2021 | 00:00 | 11:20
19 | CHENNAI | Bangalore | Bangalore ICCP (Bangalore ICCP may be affected during failure) | Chennai MLDC – Sriperumbudur – Trichy – Madurai 230 – Bangalore | Sep, 2021 | 00:00 | 16:15
20 | CHENNAI | Bangalore | Bangalore ICCP Prtn (Bangalore ICCP Prtn may be affected during failure) | Chennai – Kalivanthapatu - Pugalur – Erode-Salem 230 – Salem 400 - Bangalore | Mar, 2021 | 25:21 | 25:52
21 | CHENNAI | Bangalore | Bangalore ICCP Prtn (Bangalore ICCP Prtn may be affected during failure) | Chennai – Kalivanthapatu - Pugalur – Erode-Salem 230 – Salem 400 - Bangalore | Apr, 2021 | 00:00 | 03:34
22 | CHENNAI | Bangalore | Bangalore REMC ICCP (Bangalore ICCP may be affected during failure) | Chennai SLDC, Sriperumpdur TN,Trichy 230, MaduraisubLDC, MaduraiTNEB, Madurai PG - PG Network,Bengalore | Jun, 2021 | 00:00 | 01:50
23 | CHENNAI | Bangalore | Bangalore REMC ICCP Prtn (Bangalore ICCP Prtn may be affected during failure) | Chennai SLDC, Sriperumpudur TN, SPKoil,Villupuram, Neyveli 230, Cudddalore, Ulundurpet, Neyveli TS2_2-PG Network - Bangalore | Feb, 2021 | 00:00 | 03:59
24 | CHENNAI SLDC | Madurai Sub LDC | Back up Control Center (BCC) : Data [Alternate Channel] | SLCD Chennai - Kalivanthapattu PG - Puglaur PG- Karaikudi PG - Kayathar 400 - SLDC Madurai (BCC) | Feb, 2021 | 00:00 | 19:58
25 | CHENNAI SLDC | Madurai Sub LDC | Back up Control Center (BCC) : Data [Alternate Channel] | SLCD Chennai - Kalivanthapattu PG - Puglaur PG- Karaikudi PG - Kayathar 400 - SLDC Madurai (BCC) | Mar, 2021 | 00:00 | 19:18
26 | CHENNAI SLDC | Madurai Sub LDC | Back up Control Center (BCC) : Data [Alternate Channel] | SLCD Chennai - Kalivanthapattu PG - Puglaur PG- Karaikudi PG - Kayathar 400 - SLDC Madurai (BCC) | Apr, 2021 | 00:00 | 03:34
27 | CHENNAI SLDC | Madurai Sub LDC | Back up Control Center (BCC) : Data [Alternate Channel] | SLCD Chennai - Kalivanthapattu PG - Puglaur PG- Karaikudi PG - Kayathar 400 - SLDC Madurai (BCC) | May, 2021 | 00:00 | 04:03
28 | CHENNAI SLDC | Madurai Sub LDC | Back up Control Center (BCC) : Data [Alternate Channel] | SLCD Chennai - Kalivanthapattu PG - Puglaur PG- Karaikudi PG - Kayathar 400 - SLDC Madurai (BCC) | Aug, 2021 | 00:00 | 07:35
29 | TSSLDC | SRLDC | ICCP MAIN (ETHERNET), Type : DATA | Main path: Vidyut Soudha-Ghanapur-Mamidipally-Srisailam LBPH(TSTRANSCO)-Kurnool 400 KV-Somayajulapally-Gooy-Ananthapur-Muddanur-Chinakampally(APTRANSCO NW)-Kadapa400 -through PGCIL NW-SRLDC Alternate path: Vidyut Soudha-Shapur Nagar -Ghanapur-Mamidipally-Maheswaram-Mahabubnagar400 KV(TSTRANSCO)-Raichur 400 KV-through PGCIL NW-SRLDC | Oct, 2021 | 00:00 | 00:40
30 | Thondamanatham | Pondy SCC | Data, OFC-OFC-OFC | Thondamanatham – Pondy 400 – Villianur 230 – Pondy SCC | Feb, 2021 | 00:00 | 03:00
31 | Marapalam | Pondy SCC | Data, OFC | Marapalam – Pondy SCC | Feb, 2021 | 00:00 | 03:00