## Sheet1
| _id | Approvalstatus | d3mailStatus | deleteStatus | availedStatus | link | outageType | reasonPrecautions | alternateChannelStatus | outageStartDate | outageEndDate | requestingAgency | requestSubmittedDate | __v | COMSRNumber | proposedStartDate | proposedEndDate | approvedBy | approvedEndDate | approvedStartDate | requestApprovedDate | cod1SubmittedDate
0 | 5ff4dadb26c7f6bbb8eaff7a | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167291 | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-09-01 | 2020-09-01 08:15 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
1 | 5ffac4390c4fa1157c4b0bf0 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167291 | Forced | AC Power supply failure at Srisailam RB as "LINE CLEAR" was taken on 132 KV BUS. Consequently, idle charge feeder PLCC panel switched off to reduce the load on battery for sustaining wide-band network. The redundant Battery set is proposed for procurement | No alternate channel available | 2020-12-30 05:00 | 2020-12-30 08:07 | 5fed626d398e7129248eb5f8 | 2021-01-10 09:09 | 0
2 | 602238a90c4fa1157c4b0d6d | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167291 | Forced | At Dindi / TSTRANSCO,Cable found fault between CVT HF point to LMU: Availed LC by AE/Telecom/Dindi/TSTRANSCO and replaced the cable . | NOT AVAILABLE | 2021-01-18 05:15 | 2021-01-18 07:40 | 5fed626d398e7129248eb5f8 | 2021-02-09 07:24 | 0
3 | 61dd65c8f3b9c91128e8a3f4 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167291 | Forced | 48V DC power failure to PLCC equipment at Dindi220KVSS | NA | 2021-12-08 23:05 | 2021-12-09 | 5fed626d398e7129248eb5f8 | 2022-01-11 11:11 | 0
0 | 5ff4dadb26c7f6bbb8eaff7b | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167292 | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-05-01 | 2020-05-01 02:30 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
0 | 6048baaa28628e05848718b8 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167293 | Forced | Control card (XA60G) faulty at Narnoor replaced by M/s TEJAs Networks under AMC | Not available | 2021-02-05 07:30 | 2021-02-05 08:25 | 5fed626d398e7129248eb5f8 | 2021-03-10 12:25 | 0
1 | 60e70fec8d45073330d2d568 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167293 | Forced | At Narnuru400KVSS, during station supply interruption, Load changeover to 48V Battery is failed as 4Nos. cells are found weak and MCB tripped on battery under voltage.(4 Nos. weak battery cells were replaced and battery set tested with load, found satisfactory) | Not available | 2021-06-12 05:00 | 2021-06-12 05:50 | 5fed626d398e7129248eb5f8 | 2021-07-08 14:47 | 0
2 | 6164248e88abab1d3835b57b | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167293 | Forced | AC Supply failed and Charger MCB tripped. Batteries bacame drained at Srisailam LB | NA | 2021-09-27 09:40 | 2021-09-27 12:00 | 5fed626d398e7129248eb5f8 | 2021-10-11 11:49 | 0
3 | 618bb61b8061c066449fe589 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167293 | Forced | Battery bank 1 (HBL ,48V/400AH), get discharged at Narnoor400KVSS during LT station supply failure and simultaneously second source of 48V DC system (Amararaja charger ) 6A feeder MCB tripped on instantaneous overload causes the TEJAs SDH down. Battery bank 2 (HBL, 48V/250AH) is replaced by new 48V/250AH, HBL Battery set at Narnoor on 27th October 2021. | No alteranate available for Voice channel of Narnoor-Srisailam Leftbank. | 2021-10-23 04:25 | 2021-10-23 05:05 | 5fed626d398e7129248eb5f8 | 2021-11-10 12:08 | 0
0 | 5ff4dadb26c7f6bbb8eaff7c | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167294 | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-07-01 | 2020-07-01 08:00 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
1 | 5ff4dadb26c7f6bbb8eaff7d | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167294 | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-09-01 | 2020-09-30 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
2 | 5ff4dadb26c7f6bbb8eaff7e | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167294 | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-10-01 | 2020-10-20 09:43 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
3 | 6048b9be28628e05848718b4 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167294 | Forced | Control card (XA60G) faulty at Narnoor replaced by M/s TEJAs Networks under AMC | Alternate not available | 2021-02-05 07:30 | 2021-02-05 08:25 | 5fed626d398e7129248eb5f8 | 2021-03-10 12:21 | 0
4 | 60e710498d45073330d2d56c | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167294 | Forced | At Narnuru400KVSS, during station supply interruption, Load changeover to 48V Battery is failed as 4Nos. cells are found weak and MCB tripped on battery under voltage.(4 Nos. weak battery cells were replaced and battery set tested with load, found satisfactory) | Not available | 2021-06-12 05:00 | 2021-06-12 05:50 | 5fed626d398e7129248eb5f8 | 2021-07-08 14:49 | 0
5 | 6164243a88abab1d3835b577 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167294 | Forced | AC Supply failed and Charger MCB tripped. Batteries bacame drained at Srisailam LB | NA | 2021-09-27 09:40 | 2021-09-27 12:00 | 5fed626d398e7129248eb5f8 | 2021-10-11 11:47 | 0
6 | 618bb5838061c066449fe585 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167294 | Forced | Battery bank 1 (HBL ,48V/400AH), get discharged at Narnoor400KVSS during LT station supply failure and simultaneously second source of 48V DC system (Amararaja charger ) 6A feeder MCB tripped on instantaneous overload causes the TEJAs SDH down. Battery bank 2 (HBL, 48V/250AH) is replaced by new 48V/250AH, HBL Battery set at Narnoor on 27th October 2021. | No alteranate available for Protection-1 channel of Narnoor-Srisailam Leftbank. | 2021-10-23 04:25 | 2021-10-23 05:05 | 5fed626d398e7129248eb5f8 | 2021-11-10 12:05 | 0
7 | 619ba38fb44b985c038d6412 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167294 | Forced | Migrating to Web Based, Inserted difference previous outages by Script | NA | 2020-10-01 | 2020-10-02 | 5fed626e398e7129248eb600 | 2021-11-22 19:35
0 | 5ff4dadb26c7f6bbb8eaff7f | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167295 | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-07-01 | 2020-07-01 08:00 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
1 | 5ff4dadb26c7f6bbb8eaff80 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167295 | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-09-01 | 2020-09-30 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
2 | 5ff4dadb26c7f6bbb8eaff81 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167295 | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-10-01 | 2020-10-20 09:43 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
3 | 6048ba0f28628e05848718b6 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167295 | Forced | Control card (XA60G) faulty at Narnoor replaced by M/s TEJAs Networks under AMC | Not available | 2021-02-05 07:30 | 2021-02-05 08:25 | 5fed626d398e7129248eb5f8 | 2021-03-10 12:23 | 0
4 | 60e710228d45073330d2d56a | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167295 | Forced | At Narnuru400KVSS, during station supply interruption, Load changeover to 48V Battery is failed as 4Nos. cells are found weak and MCB tripped on battery under voltage.(4 Nos. weak battery cells were replaced and battery set tested with load, found satisfactory) | Not available | 2021-06-12 05:00 | 2021-06-12 05:50 | 5fed626d398e7129248eb5f8 | 2021-07-08 14:48 | 0
5 | 6164246c88abab1d3835b579 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167295 | Forced | AC Supply failed and Charger MCB tripped. Batteries bacame drained at Srisailam LB | NA | 2021-09-27 09:40 | 2021-09-27 12:00 | 5fed626d398e7129248eb5f8 | 2021-10-11 11:48 | 0
6 | 618bb5cd8061c066449fe587 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167295 | Forced | Battery bank 1 (HBL ,48V/400AH), get discharged at Narnoor400KVSS during LT station supply failure and simultaneously second source of 48V DC system (Amararaja charger ) 6A feeder MCB tripped on instantaneous overload causes the TEJAs SDH down. Battery bank 2 (HBL, 48V/250AH) is replaced by new 48V/250AH, HBL Battery set at Narnoor on 27th October 2021. | No alteranate available for Protection-2 channel of Narnoor-Srisailam Leftbank. | 2021-10-23 04:25 | 2021-10-23 05:05 | 5fed626d398e7129248eb5f8 | 2021-11-10 12:07 | 0
7 | 619ba38fb44b985c038d6413 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167295 | Forced | Migrating to Web Based, Inserted difference previous outages by Script | NA | 2020-10-01 | 2020-10-02 | 5fed626e398e7129248eb600 | 2021-11-22 19:35
0 | 5ff4dadb26c7f6bbb8eaff83 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167297 | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-07-01 | 2020-07-01 05:00 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
0 | 5ff4dadb26c7f6bbb8eaff84 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167298 | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-07-01 | 2020-07-01 05:00 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
0 | 5ff4dadb26c7f6bbb8eaff85 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167299 | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-07-01 | 2020-07-01 05:00 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
0 | 6112612d8d45073330d2d75c | Pending | FALSE | 0 | 1 | 5ff219e97be82648171672b6 | Forced | Puncom PLCC Channel modem card failure at Chillakallu220KVSS | Not available | 2021-07-07 20:30 | 2021-07-08 06:10 | 5fed626d398e7129248eb5f8 | 2021-08-10 11:21 | 0
0 | 5ff4dadc26c7f6bbb8eb008b | Pending | FALSE | 0 | 1 | 5ff219e97be82648171673a6 | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-06-01 | 2020-06-01 02:30 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
0 | 5ff4dadc26c7f6bbb8eb0084 | Pending | FALSE | 0 | 1 | 5ff219e97be826481716737c | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-09-01 | 2020-09-01 08:15 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
1 | 60250bec57c4164028707112 | Pending | FALSE | 0 | 1 | 5ff219e97be826481716737c | Forced | supply problem at Srisailam RBPH | NIL | 2020-12-30 05:00 | 2020-12-30 08:07 | 5fed626e398e7129248eb600 | 2021-02-11 10:50 | 0
2 | 619ba38fb44b985c038d6455 | Pending | FALSE | 0 | 1 | 5ff219e97be826481716737c | Forced | Migrating to Web Based, Inserted difference previous outages by Script | NA | 2021-01-01 | 2021-01-01 02:25 | 5fed626e398e7129248eb600 | 2021-11-22 19:35
3 | 61dd22c8f3b9c91128e8a348 | Pending | FALSE | 0 | 1 | 5ff219e97be826481716737c | Forced | Supply failed to communication equipment due to MCB got tripped in charger at Dindi. | NA | 2021-12-08 23:05 | 2021-12-09 | 5fed626e398e7129248eb5fc | 2022-01-11 06:25 | 0
0 | 5ff4dadc26c7f6bbb8eb0085 | Pending | FALSE | 0 | 1 | 5ff219e97be826481716737d | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-09-01 | 2020-09-01 08:15 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
1 | 60250c3657c4164028707114 | Pending | FALSE | 0 | 1 | 5ff219e97be826481716737d | Forced | supply problem at Srisailam RBPH | NIL | 2020-12-30 05:00 | 2020-12-30 08:07 | 5fed626e398e7129248eb600 | 2021-02-11 10:52 | 0
2 | 619ba390b44b985c038d6456 | Pending | FALSE | 0 | 1 | 5ff219e97be826481716737d | Forced | Migrating to Web Based, Inserted difference previous outages by Script | NA | 2021-01-01 | 2021-01-01 02:25 | 5fed626e398e7129248eb600 | 2021-11-22 19:35
3 | 61dd2310f3b9c91128e8a34a | Pending | FALSE | 0 | 1 | 5ff219e97be826481716737d | Forced | Supply failed to communication equipment due to MCB got tripped in charger at Dindi. | NA | 2021-12-08 23:05 | 2021-12-09 | 5fed626e398e7129248eb5fc | 2022-01-11 06:26 | 0
0 | 5ff4dadc26c7f6bbb8eb0089 | Pending | FALSE | 0 | 1 | 5ff219e97be82648171673a1 | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-11-01 | 2020-11-01 03:00 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
1 | 5ffc25670c4fa1157c4b0c73 | Approved | FALSE | 0 | 1 | 5ff219e97be82648171673a1 | Planned | Replacement Intellicon Exchange with new BPL Sigma 150 Exchange | not available | 2021-02-10 05:30 | 2021-02-10 07:30 | 5fed626e398e7129248eb5fc | 2021-01-11 10:16 | 0 | 6 | 2021-02-10 05:30 | 2021-02-10 07:30 | 5fed626e398e7129248eb5fe | 2021-02-10 07:30 | 2021-02-10 05:30 | 2021-01-29 09:12 | 2021-02-20 09:28
0 | 5ff4dadc26c7f6bbb8eb008a | Pending | FALSE | 0 | 1 | 5ff219e97be82648171673a2 | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-11-01 | 2020-11-02 15:10 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
1 | 619ba390b44b985c038d6458 | Pending | FALSE | 0 | 1 | 5ff219e97be82648171673a2 | Forced | Migrating to Web Based, Inserted difference previous outages by Script | NA | 2020-11-01 | 2020-11-02 | 5fed626e398e7129248eb600 | 2021-11-22 19:35
0 | 5ff4dadc26c7f6bbb8eb008c | Pending | FALSE | 0 | 1 | 5ff219e97be82648171673ac | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-10-01 | 2020-10-01 21:10 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
1 | 619ba390b44b985c038d6459 | Pending | FALSE | 0 | 1 | 5ff219e97be82648171673ac | Forced | Migrating to Web Based, Inserted difference previous outages by Script | NA | 2020-10-01 | 2020-10-02 | 5fed626e398e7129248eb600 | 2021-11-22 19:35
0 | 5ff4dadc26c7f6bbb8eb0080 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167379 | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-09-01 | 2020-09-30 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
1 | 5ff4dadc26c7f6bbb8eb0081 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167379 | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-10-01 | 2020-10-19 19:50 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
2 | 616039c888abab1d3835b55c | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167379 | Forced | Supply failed to OLTE&MUX due to AC supply failure and battery got discharged | NA | 2021-09-27 09:40 | 2021-09-27 12:00 | 5fed626e398e7129248eb5fc | 2021-10-08 12:30 | 0
3 | 619ba38fb44b985c038d6453 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167379 | Forced | Migrating to Web Based, Inserted difference previous outages by Script | NA | 2020-10-01 | 2020-10-02 | 5fed626e398e7129248eb600 | 2021-11-22 19:35
4 | 619cebc77a7bf7d65c618336 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167379 | Forced | Migrating to Web Based, Inserted difference previous outages by Script | NA | 2021-10-01 | 2021-10-01 00:40 | 5fed626e398e7129248eb600 | 2021-11-23 18:55
0 | 5ff4dadc26c7f6bbb8eb0082 | Pending | FALSE | 0 | 1 | 5ff219e97be826481716737a | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-09-01 | 2020-09-30 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
1 | 5ff4dadc26c7f6bbb8eb0083 | Pending | FALSE | 0 | 1 | 5ff219e97be826481716737a | Forced | Migrating to Web Based, Inserted previous outages by Script | NA | 2020-10-01 | 2020-10-19 19:50 | 5fed626e398e7129248eb600 | 2021-01-06 03:02
2 | 61603a0288abab1d3835b55e | Pending | FALSE | 0 | 1 | 5ff219e97be826481716737a | Forced | Supply failed to OLTE&MUX due to AC supply failure and battery got discharged | NA | 2021-09-27 09:40 | 2021-09-27 12:00 | 5fed626e398e7129248eb5fc | 2021-10-08 12:31 | 0
3 | 618e059b70a05813f0d4295f | Pending | FALSE | 0 | 1 | 5ff219e97be826481716737a | Forced | Supply problem at Narnoor 400 KVSS(APTRANSCO) | NA | 2021-10-23 04:25 | 2021-10-23 05:05 | 5fed626e398e7129248eb5fc | 2021-11-12 06:12 | 0
4 | 619ba38fb44b985c038d6454 | Pending | FALSE | 0 | 1 | 5ff219e97be826481716737a | Forced | Migrating to Web Based, Inserted difference previous outages by Script | NA | 2020-10-01 | 2020-10-02 | 5fed626e398e7129248eb600 | 2021-11-22 19:35
0 | 6163e52f88abab1d3835b571 | Pending | FALSE | 0 | 1 | 5ff219e97be826481716737b | Forced | Supply failed to OLTE&MUX ,due to AC supply failed to Charger at Srisailam LBPH | NA | 2021-09-27 09:40 | 2021-09-27 12:00 | 5fed626e398e7129248eb5fc | 2021-10-11 07:18 | 0
1 | 618e05dd70a05813f0d42961 | Pending | FALSE | 0 | 1 | 5ff219e97be826481716737b | Forced | Supply problem at Narnoor 400 KVSS(APTRANSCO) | NA | 2021-10-23 04:25 | 2021-10-23 05:05 | 5fed626e398e7129248eb5fc | 2021-11-12 06:13 | 0
0 | 6048b89a28628e05848718ae | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167382 | Forced | Patch cord problem at Veltore 400 KVSS | not available | 2021-02-24 21:00 | 2021-02-25 06:15 | 5fed626e398e7129248eb5fc | 2021-03-10 12:16 | 0
0 | 6048b8e628628e05848718b0 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167383 | Forced | Patch cords problem at Veltore 400 KVSS | not available | 2021-02-24 21:00 | 2021-02-25 06:15 | 5fed626e398e7129248eb5fc | 2021-03-10 12:18 | 0
0 | 6048b91828628e05848718b2 | Pending | FALSE | 0 | 1 | 5ff219e97be8264817167384 | Forced | Patch cords problem at Veltore 400 KVSS | not available | 2021-02-24 21:00 | 2021-02-25 06:15 | 5fed626e398e7129248eb5fc | 2021-03-10 12:19 | 0